## BOQ
[Bidder's Letterhead]
[Date]
To: Tarlac State University
Re: [Invitation to Bid No.]
BILL OF QUANTITIES
Item No. | Work Description | Materials, supplies, etc. |  | Work Item |  | Direct Cost | Indirect Cost | Total Direct & Indirect Cost | Value Added Tax | Total Cost
[6 empty] | Materials, Labor, & Equipment | Overhead, Contingencies, Miscellaneous, & Profit
|  | Quantity | Unit | Quantity | Unit
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
1 | General Requirements
1.1 | Mobilization & Demobilization |  |  | 1 | lot
1.2 | Construction Occupational Safety & Health |  |  | 1 | lot
1.3 | Project Billboard,Temporary Facilities, and Barricade |  |  | 1 | lot
1.4 | Permits and Clearances |  |  | 1 | lot
Sub-Total
2 | 40kW Grid-tied PV System (Student Center Building)
2.1. | Mounting Structure |  |  | 1 | lot
2.1.1 | Solar Panel Railings 2.3m | 144 | pc
2.1.2 | L-foot | 466 | set
2.1.3 | Mid Clamp | 164 | set
2.1.4 | End clamp | 96 | set
2.1.5 | Rail connector | 144 | set
2.1.6 | Grounding lug clip | 96 | set
2.2. | Inverters, 20KW Grid-Tied Inverter System |  |  | 2 | set
2.3. | Solar Panels |  |  | 1 | lot
2.3.1 | 550W Solar Panels | 82 | set
2.3.2 | 700W Rapid shutdown Device | 82 | set
2.3.3 | Rapid Shutdown System Transmitter with power supply | 2 | set
2.4 | Cable layout |  |  | 1 | lot
2.4.1 | 100mm x 100mm x 1m Outdoor galvanized steel cable tray | 84 | m
2.4.2 | 2" RSC Pipe | 8 | pc
2.4.3 | 2" RSC Elbow | 1 | pc
2.4.4 | 2" PVC Pipe | 14 | pc
2.4.5 | 2" PVC Elbow | 3 | pc
2.4.6 | 40mm diameter UV- Rated HDPE spiral conduit Black (100m/roll) | 2 | set
2.4.7 | 4 mm² DC Cable | 956 | m
2.4.8 | MC4 pair connectors (Male and Female) | 70 | set
2.4.9 | CAT6 Lan Cable | 200 | m
2.4.10 | 3.5 mm² THHN/THWN Cu. Wire | 300 | m
2.4.11 | 80 mm² THHN/THWN Cu. Wire | 270 | m
2.4.12 | 22 mm² THHN/THWN Cu. Wire | 156 | m
2.4.13 | 8.0 mm² THHN/THWN Cu. Wire | 14 | m
2.4.14 | Concrete Encasement including Excavation and Compacted Backfill | 1 | lot
2.4.15 | 2" Service Entrance Cap | 1 | pc
2.4.16 | 6" X 6" X 4" Metal pullbox | 1 | set
2.5. | Panelboards |  |  | 1 | lot
2.5.1 | Unitized Panelboard DC and AC Combiner (breakers and surge protection devices) and space for mounting of data logger and transmitter power supply with exhaust fans, din rail, pvc cable tray, grounding busbar, and accessories including angle bar, cutting disk, welding rods, primer gray, bolts with nuts and washer, etc. | 1 | lot
2.5.2 | PV System Disconnect 320 AT, 3 pole, 230V MCCB in NEMA 4X Enclosure | 1 | set
2.6. | PV Lightning and Grounding system |  |  | 1 | lot
2.6.1. | 3.5 mm² THHN/THWN Cu. Wire | 200 | m
2.6.2. | 8.0 mm² Bare Cu. Wire | 50 | m
2.6.3. | Early Streamer Emission (ESE) Air Terminal with 2 meters pole including terminal base and cables supports | 1 | set
2.6.4. | 3m x 5/8" φ Copper Ground Rod with grounding clamp | 5 | set
2.7. | Communication Device, Data Logger with power supply |  |  | 1 | set
2.8. | Net-metering, Application for Net-Metering including REC meter cables, and accessories |  |  | 1 | lot
Sub-Total
3 | 80kW Grid-tied PV System (CFTR Building)
3.1. | Mounting Structure |  |  | 1 | lot
3.1.1 | Solar Panel Railings 2.3m | 236 | pc
3.1.2 | L-foot | 845 | set
3.1.3 | Mid Clamp | 207 | set
3.1.4 | End clamp | 82 | set
3.1.5 | Rail connector | 236 | set
3.1.6 | Grounding lug | 82 | set
3.2. | Inverters, 20KW Grid-Tied Inverter System |  |  | 4 | set
3.3. | Solar Panels |  |  | 1 | lot
3.3.1 | 550W Solar Panels | 176 | set
3.3.2 | 700W Rapid shutdown Device | 176 | set
3.3.3 | Rapid Shutdown System Transmitter with power supply | 4 | set
3.4 | Cable layout |  |  | 1 | lot
3.4.1 | 100mm x 100mm x 1m Outdoor galvanized steel cable tray | 212 | m
3.4.2 | 4" RSC Pipe | 1 | pc
3.4.3 | 4" RSC Elbow | 2 | pc
3.4.4 | 3" RSC Pipe | 4 | pc
3.4.5 | 40mm diameter UV- Rated HDPE spiral conduit Black (100m/roll) | 3 | set
3.4.6 | 4 mm² DC Cable | 3200 | m
3.4.7 | MC4 pair connectors (Male and Female) | 269 | set
3.4.8 | CAT6 Lan Cable | 100 | m
3.4.9 | 3.5 mm² THHN/THWN Cu. Wire | 960 | m
3.4.10 | 150 mm² THHN/THWN Cu. Wire | 54 | m
3.4.11 | 30 mm² THHN/THWN Cu. Wire | 18 | m
3.4.12 | 22 mm² THHN/THWN Cu. Wire | 69 | m
3.4.13 | 8.0 mm² THHN/THWN Cu. Wire | 23 | m
3.4.14 | 3" Service Entrance Cap | 2 | set
3.4.15 | Heavy Duty Secondary Rack w/ 3-Spool Insulator | 2 | set
3.4.16 | 6" X 6" X 4" Metal pullbox | 1 | set
3.5. | Panelboards |  |  | 1 | lot
3.5.1 | Unitized Panelboard DC and AC Combiner (breakers and surge protection devices) and space for mounting of data logger and transmitter power supply with exhaust fans, din rail, pvc cable tray, grounding busbar, and accessories including angle bar, cutting disk, welding rods, primer gray, bolts with nuts and washer, etc. | 1 | lot
3.5.2 | PV System Disconnect 350 AT, 3 pole, 230V MCCB in NEMA 4X Enclosure | 1 | set
3.6. | PV Lightning and Grounding system |  |  | 1 | lot
3.6.1 | 3.5 mm² THHN/THWN Cu. Wire | 400 | m
3.6.2 | 8.0 mm² Bare Cu. Wire | 100 | m
3.6.3 | Early Streamer Emission (ESE) Air Terminal with 2 meters pole including terminal base and cables supports | 1 | set
3.6.4 | 3m x 5/8" φ Copper Ground Rod with grounding clamp | 5 | set
3.7. | Communication Device, Data Logger with power supply |  |  | 1 | set
3.8. | Net-metering, Application for Net-Metering including REC meter cables and accessories |  |  | 1 | lot
Sub-Total
| Total Bid Price | (State total amount of Bid in words) | [7 empty] | (Total amount in figres)
[Signature]
[Name of Authorized Signatory]
[Position/Title of Authorized Signatory]