## PRODUCTIVITY RATE (hidden)
Republic of the Philippines
DEPARTMENT OF EDUCATION
EDUCATION FACILITIES DIVISION
DepEd Complex, Meralco Avenue, Pasig City
PRODUCTIVITY RATE
|  | ITEM NO. | DESCRIPTION | PERSONNEL |  |  |  |  | EQUIPMENT |  |  | OUTPUT PER HOUR | UNIT
|  |  |  | Construction Foreman | Skilled Laborer | Unskilled Laborer | Safety Officer* | First Aider* | Name and Capacity | No. of Unit | Hrs Utilized
1 |  | A. | Facilities for the Engineer
1 |  | A.1 | Temporary Facilities |  |  |  | See sample DUPA for reference. | [5 empty] | Month
1 |  | B. | Other General Requirements
|  | B.1 | Fire Safety Inspection Certificate (FSIC) |  |  |  | See sample DUPA for reference. | [5 empty] | lot
1 |  | SPL 1 | Project Billboard | 1 | 1 | 1 | See sample DUPA for reference. | [5 empty] | Each
1 |  | SPL 2 | Construction Safety and Health |  |  |  | 1 | 1 | See sample DUPA for reference. |  |  |  | Ls
|  | C. | Mobilization and Demobilization
1 |  | C.1 | Mobilization and Demobilization | [5 empty] | Self Loading Truck and Accessories | 1 | See sample DUPA for reference. The maximum Cost of Mob/ Demob is 1% of the cost of civil works. |  | Ls
1 |  | 1 | Earthworks
1 |  | 1 (a) | Clearing and Grubbing | 1 |  | 2 |  |  | Dump Truck (12 cu.yd.) | 2 | 1 | 500 | sq.m
[9 empty] | Payloader (1.5 cu.m.) | 1 | 1
[9 empty] | Bulldozer (155 Hp) | 1 | 1
1 |  | 1 (b) | Structural Excavation | 1 |  | 3 |  |  | Backhoe (0.80 cu.m.) | 1 | 0.7 | 20 | cu m
[9 empty] | Dump Truck (12 cu.yd.) | 2 | 0.7
1 |  | 1 (c) | Backfilling of Excavated Materials | 1 |  | 3 |  |  | Plate Compactor (5hp) | 1 | 0.75 | 9.84 | cu m
[9 empty] | Backhoe (0.80 cu.m.) | 1 | 0.75
1 |  | 1 (d) | Gravel Bedding G-1 | 1 |  | 3 |  |  | Plate Compactor (5hp) | 1 | 0.5 | 1.2 | cu m
1 |  | 1 (e) | Embankment | 1 |  | 3 |  |  | Plate Compactor (5hp) | 1 | 0.75 | 9.84 | cu m
[9 empty] | Backhoe (0.80 cu.m.) | 1 | 0.75
Termite Control Works
1 |  | 1 (f) | Soil Poisoning | 1 | 1 | 2 | [5 empty] | 5.4 | L
1 |  | 2 | Concreting Works (3000 psi)
1 | 1 | 2 (a) | Demolition of reinforced concrete | [9 empty] | cu m
|  | 2 (b) | Structural Concrete (Footing and Slab on Fill) | 1 | 1 | 4 |  |  | One - bagger Mixer | 1 | 1 | 0.357 | cu m
1 |  | 2 (c) | Structural Concrete (Footing Tie Beam, Column, Suspended Slab, Girder/ Beam) | 1 | 1 | 4 |  |  | One - bagger Mixer | 1 | 1 | 0.27 | cu m
|  | 2 (d) | Lean Concrete | 1 | 1 | 4 |  |  | One - bagger Mixer | 1 | 1 | 0.357 | cu m
|  | 2 (e) | Structural Concrete (Footing and Slab on Fill) - Ready Mix | 1 | 2 | 6 |  |  | Concrete Vibrator | 2 | 1 | 3.32 | cu m
|  | 2 (f) | Structural Concrete (Footing Tie Beam, Column, Suspended Slab, Girder/ Beam) - Ready Mix | 1 | 2 | 6 |  |  | Concrete Vibrator | 2 | 1 | 0.947 | cu m
|  | 2 (g) | Lean Concrete (Ready Mix) | 1 | 2 | 6 |  |  | Concrete Vibrator | 2 | 1 | 3.72 | cu m
[9 empty] | Pumpcrete | 1 | 0.27
1 |  | 2 (h) | Ramp on Fill | 1 | 1 | 4 |  |  | One - bagger Mixer | 1 | 1 | 0.357 | cu m
1 |  | 3 | Rebar Works
1 |  | 3 (a) | Reinforcing Steel Bar, Grade 40 | 1 | 3 | 12 |  |  | Bar Cutter | 1 | 0.5 | 143.438 | kg
[9 empty] | Bar Bender | 1 | 0.5
1 |  | 4 | Formworks
|  | 4 (a) | Installation and Removal of Formworks
1 |  |  | Installation of Formworks | 1 | 2 | 4 | [5 empty] | 3.24 | sq.m
|  |  | Removal of Formworks | 1 |  | 6
1 |  | 5 | Masonry Works
1 | 2 | 5 (a) | Demolition of Masonry Wall | [9 empty] | sq m
1 |  | 5 (b) | Masonry (100 mm CHB) | 1 | 2 | 3 |  |  | One - bagger Mixer | 1 | 1 | 3.825 | sq.m
|  | 5 (c) | Masonry (150 mm CHB) | 1 | 2 | 3 |  |  | One - bagger Mixer | 1 | 1 | 3.18 | sq.m
1 |  | 5 (d) | Plain Cement Plaster Finish | 1 | 2 | 4 | [5 empty] | 7.125 | sq.m
1 |  | 5 (e) | Plain Cement floor Finish | 1 | 1 | 3 | [5 empty] | 5.95 | sq.m
1 |  | 6 | Fabricated Materials and Hardware
1 | 3 | 6 (a) | Removal of Door with Jamb | [9 empty] | set
1 | 4 | 6 (b) | Removal of Window with Jamb | [9 empty] | set
|  | 6 (c) | Hollow Core Flush Door | 1 | 1 | 1 | [5 empty] | 0.32 | sq m
|  | 6 (d) | Wooden Panel Door | 1 | 1 | 2 | [5 empty] | 0.32 | sq m
|  | 6 (e) | Jalousie Window (Glass) | 1 | 1 | 1 | [5 empty] | 0.27 | sq m
|  | 6 (f) | Frames (Jambs, Sill, Head, Transoms, and Mullions) | 1 | 1 | 1 | [6 empty] | set
1 |  | 6 (g) | Ramp Rail | 1 | 2 | 4 |  |  | Welding Machine | 1 |  |  | Ls
1 |  | 7 | Steel Works
1 | 5 | 7 (a) | Removal of Steel Trusses | [9 empty] | kg
1 | 6 | 7 (b) | Removal of Steel Purlins | [9 empty] | kg
|  | 7 (c) | Structural Steel Roof Truss
1 |  |  | Fabrication | 1 | 2 | 2 |  |  | Welding Machine | 1 | 0.75 | 85 | kg
[9 empty] | Cutting Outfit | 1 | 0.25
|  |  | Erection |  | 3 | 3 |  |  | Truck Mounted Crane (20 - 25mT) | 1 | 0.49
1 |  | 7 (d) | Structural Steel Purlins | 1 | 2 | 4 |  |  | Welding Machine | 2 | 1 | 90.45 | kg
1 |  | 7 (e) | Metal Structure Accessories (Steel Plates) | 1 | 1 | 1 | [5 empty] | 12.995 | kg
|  | 7 (f) | Metal Structure Accessories (Anchor Bolts) | 1 | 1 | 1 | [6 empty] | pc
|  | 7 (g) | Metal Structure Accessories (Sag Rods) | 1 | 1 | 1 | [6 empty] | pc
|  | 7 (h) | Metal Structure Accessories (Turn Buckle) | 1 | 1 | 1 | [6 empty] | pc
|  | 7 (i) | Metal Structure Accessories (Cross Bracing) | 1 | 1 | 1 | [6 empty] | pc
1 |  | 8 | Roofing Works
1 | 7 | 8 (a) | Removal of Metal Roofing | [9 empty] | sq m
1 |  |  | Longspan Metal Roofing
|  | 8 (b) | Pre - painted Metal Sheets (Corrugated, Short Span/ Long Span, below 0.427 BMT/ above 0.427 BMT | 1 | 1 | 2 | [5 empty] | 2.076 | sq.m
|  | 8 (c) | Pre - painted Metal Sheets (Rib - type, Short Span/ Long Span, below 0.427 BMT/ above 0.427 BMT | 1 | 1 | 2 | [5 empty] | 2.769 | sq.m
|  | 8 (d) | Fabricated Metal Roofing Accessory (Gutter) | 1 | 1 | 1 | [5 empty] | 11.8 | m
|  | 8 (e) | Fabricated Metal Roofing Accessory (Ridge/ Hip Rolls/ Flashing/ Counter Flashing/ Valley Roll) | 1 | 1 | 1 | [5 empty] | 10 | m
1 |  | 9 | Ceiling and Carpentry Works
1 | 8 | 9 (a) | Removal of Wooden Truss/ Beams | [9 empty] | bdft
1 | 9 | 9 (b) | Removal of Purlins | [9 empty] | bdft
1 | 10 | 9 (c) | Removal of Partition | [9 empty] | sq m
1 | 11 | 9 (d) | Removal of Ceiling | [9 empty] | sq m
1 |  |  | Carpentry for Ceiling
|  | 9 (e) | 4.5mm Fiber Cement Board/ 4.5mm Marine Plywood/ 6.0mm Marine Plywood/ 6.0 mm Ordinary Plywood in Wood Frame Ceiling | 1 | 1 | 2 | [5 empty] | 1.489 | sq.m
|  | 9 (f) | 4.5mm Fiber Cement Board/ 4.5mm Marine Plywood/ 6.0mm Marine Plywood/ 6.0 mm Ordinary Plywood on Metal Frame Ceiling | 1 | 1 | 2 | [5 empty] | 1.243 | sq.m
|  | 9 (g) | Gypsum Board on Metal Frame Ceiling | 1 | 1 | 2 | [5 empty] | 1.34 | sq.m
1 |  |  | Partition Wall
|  | 9 (h) | 4.5 mm/ 6.0 mm thk 4' x 8' Fiber Cement Board/ Marine Plywood/ 6.0 mm thk 4' x 8' Ordinary Plywood on Metal Frame Double Partition | 1 | 1 | 2 | [5 empty] | 0.776 | sq.m
1 |  | 9 (i) | Blackboard | 1 | 1 | 2 | [5 empty] | 0.776 | sq.m
1 |  | 10 | Electrical Works
1 |  | 10 (a) | Conduit, Boxes and Fitting | 1 | 2 | 4 | See sample DUPA for reference. | [5 empty] | Ls
1 |  | 10 (b) | Wires and Wiring Devices | 1 | 2 | 4 | See sample DUPA for reference. | [5 empty] | Ls
1 |  | 10 (c) | Lighting Fixture/ Fixture | 1 | 1 | 2 | See sample DUPA for reference. | [5 empty] | Ls
1 |  | 10 (d) | Panel Board and Cabinets | 1 | 1 | 2 | See sample DUPA for reference. | [5 empty] | Ls
1 |  | 11 | Plumbing Works
1 |  | 11 (a) | Waterline Works | 1 | 1 | 2 | See sample DUPA for reference. | [5 empty] | Ls
1 |  | 12 | Sanitary Works
1 |  | 12 (a) | Sewer Line Works | 1 | 1 | 2 | See sample DUPA for reference. | [5 empty] | Ls
1 |  | 12 (b) | Sanitary/ Plumbing Fixtures | 1 | 1 | 1 | See sample DUPA for reference. | [5 empty] | Ls
1 |  | 12 (c) | Three Chamber Septic Vault | 1 | 4 | 8 | See sample DUPA for reference. | [5 empty] | Ls
1 |  | 13 | Painting Works
1 |  | 13 (a) | Masonry Painting | 1 | 2 | 1 | [5 empty] | 2.1 | sq.m
1 |  | 13 (b) | Wooden Painting | 1 | 2 | 1 | [5 empty] | 1.89 | sq.m
1 |  | 13 (c) | Metal Painting | 1 | 2 | 1 | [5 empty] | 2 | sq.m
1 |  | 15 | Waterproofing
1 |  | 15 (a) | Waterproofing Cement Base | 1 | 1 | 1 | [5 empty] | 1.875 | sq.m
1 |  | 14 | Tile Works
1 |  | 14 (a) | Glazed Tiles and Trims | 1 | 5 | 5 | [5 empty] | 1.365 | sq.m
1 |  | 14 (b) | Unglazed Tiles/ Granite Tiles/ Synthetic Granite Tiles | 1 | 5 | 5 | [5 empty] | 1.95 | sq.m
|  | ITEM NO. | DESCRIPTION | PERSONNEL |  |  |  |  | EQUIPMENT |  |  | OUTPUT PER HOUR | UNIT
|  |  |  | Construction Foreman | Skilled Laborer | Unskilled Laborer | Safety Officer* | First Aider* | Name and Capacity | No. of Unit | Hrs Utilized
| 1 | 2 (a) | Demolition of reinforced concrete | [9 empty] | cu m
| 2 | 5 (a) | Demolition of Masonry Wall | [9 empty] | sq m
| 3 | 6 (a) | Removal of Door with Jamb | [9 empty] | set
| 4 | 6 (b) | Removal of Window with Jamb | [9 empty] | set
| 5 | 7 (a) | Removal of Steel Trusses | [9 empty] | kg
| 6 | 7 (b) | Removal of Steel Purlins | [9 empty] | kg
| 7 | 8 (a) | Removal of Metal Roofing | [9 empty] | sq m
| 8 | 9 (a) | Removal of Wooden Truss/ Beams | [9 empty] | bdft
| 9 | 9 (b) | Removal of Purlins | [9 empty] | bdft
| 10 | 9 (c) | Removal of Partition | [9 empty] | sq m
| 11 | 9 (d) | Removal of Ceiling | [9 empty] | sq m
Note on D15: Not yet standardized. See sample DUPA.
Note on D21: Max 1% of the cost of civil works
Note on D108: Considered as composite item

## #2 LABOR RATES (hidden)
LABOR RATES
CITY/ MUNICIPALITY
PROVINCE
REGION
I.D. NO. | Classification | Daily Rate | Hourly Rate
a | Construction Foreman | 1000 | 125
b | Skilled Laborer | 700 | 87.5
c | Unskilled Laborer | 550 | 68.75
c | Safety Officer | 700 | 87.5
d | First Aider | 500 | 62.5
Note on D17: To be filled up by the DEPED Engineers. The Labor Rates will be disseminated by the Regional Office.

## #1 CMPD (hidden)
CMPD
2021
DIVISION OFFICE : |  |  | FROM 2019 NCR AVERAGE UNIT COST | PROPOSED LABOR COST (FOR APPROVAL)
CITY/ MUNICIPALITY :
PROVINCE :
REGION :
ITEM NO. | DESCRIPTION | UNIT | CMPD
1 | Earthworks
1.01 | Clearing and Grubbing | sq.m |  | 75 | #DIV/0!
1.02 | Structural Excavation | cu.m |  | 345 | #DIV/0!
1.03 | Backfilling and Compaction | cu.m |  | 275 | #DIV/0!
1.04 | Gravel Bedding G-1 | cu.m | 700 | 450 | 64.29%
1.05 | Select Fill | cu.m | 150 | 82.5 | 55%
1.06 | Soil Poisoning | sq m | 15 | 75 | 500%
2 | Concreting Works |  |  |  | #DIV/0!
2.01 | Demolition of reinforced concrete | cu.m |  | 500 | #DIV/0!
2.02 | Portland Cement | bag | 225 | 72 | 32%
2.03 | Crushed Gravel 3/4" | cu.m | 1495 | 720 | 48.16%
2.04 | Crushed Gravel 1" | cu.m | 1050 | 450 | 42.86%
2.05 | Washed Sand | cu.m | 1052 | 360 | 34.22%
3 | Rebar Works |  |  |  | #DIV/0!
3.01 | Deformed Round Bars, Grade 60 | kg | 63.12 |  | 0%
3.02 | D16mm x 6.00 mts RSB | pc | 597 |  | 0%
3.03 | D20mm x 6.00 mts RSB | pc | 935 |  | 0%
3.04 | D25mm x 6.00 mts RSB | pc | 1460 |  | 0%
3.05 | Deformed Round Bars, Grade 40 | kg | 61.38 |  | 0%
3.06 | D16mm x 6.00 mts RSB | pc | 580 |  | 0%
3.07 | D20mm x 6.00 mts RSB | pc | 910 |  | 0%
3.08 | D25mm x 6.00 mts RSB | pc | 1420 |  | 0%
3.09 | Deformed Round Bars, Grade 33 | kg | 55.82 | 55.82 | 100%
3.1 | D10mm x 6.00 mts RSB | pc | 207.66 |  | 0%
3.11 | D12mm x 6.00 mts RSB | pc | 298.09 | 298.09 | 100%
3.12 | G.I. Tie Wire | kg | 80 |  | 0%
4 | Formworks |  |  |  | #DIV/0!
4.01 | Coco Lumber | bd.ft | 35 | 5.6 | 16%
4.02 | Plywood Ordinary, 1/4" x 4' x 8' | pc | 320 | 90 | 28.12%
4.03 | Plywood Ordinary, 1/2" x 4' x 8' | pc | 550 | 187.6 | 34.11%
4.04 | CWN, Assorted | kg | 90 | 16 | 17.78%
5 | Masonry Works |  |  |  | #DIV/0!
5.01 | Demolition of Masonry Wall | sq.m |  | 450 | #DIV/0!
5.02 | CHB 6" thk | pc | 15 | 5.4 | 36%
5.03 | CHB 4" thk | pc | 11 | 4.8 | 43.64%
5.04 | 10mm x 6m RSB | kg | 55.82 | 18.9 | 33.86%
5.05 | Plaster Moulding | lm | 125 | 45 | 36%
5.06 | Concrete Louver Blocks | pc | 30 | 13.5 | 45%
6 | Doors and Windows |  |  |  | #DIV/0!
6.01 | Removal of Door with Jamb | set |  | 150 | #DIV/0!
6.02 | Removal of Window with Jamb | sq.m |  | 30 | #DIV/0!
6.03 | Wood Panel Door | sq.m | 5500 | 343.9153 | 6.253%
6.031 | D-1, (1.00m x 2.10m) KD and Termite - treated Panel Door Type Hinged Door and Fixed Glass Transom on 50mm x 150mm Wood Jamb/ Frame and Lever - type Knob | set | 9450 | 850 | 8.995%
6.032 | D-1, Panel Door 0.90m x 2.10m on 150mm Wooden Jamb complete with Accessories (lever type door knob) | set | 7817.5 | 800 | 10.23%
6.033 | D-2, (0.90m x 2.10m) Panel Door | set | 8505 | 650 | 7.643%
6.04 | Flush Door | sq.m | 767.2 | 238.0952 | 31.03%
6.041 | D-2, (0.958m x 2.05m) Hollow Core Flush Type Swing Door and Fixed Glass Transom on 50mm x 150mm Guijo/ Yakal Jamb with Marine Plywood (two face) with Hardware and Accessories and Cylindrical Door Knob. | set | 1747.87 | 750 | 42.91%
6.042 | D-1, Flush Door 0.90m x 2.10m on 100mm Wooden Jamb complete with Accessories (lever type door knob) | set | 4167.5 | 650 | 15.6%
6.043 | D-3, (0.70m x 2.10m) Flush Door | set | 1308.3 | 570 | 43.57%
6.05 | PVC Door | sq.m | 1700 | 95 | 5.588%
6.06 | Door Jamb | bd.ft | 90 | 11 | 12.22%
6.061 | Door Jamb 45mm x 150mm | set | 1550 |  | 0%
6.07 | Window Jamb | bd.ft | 90 |  | 0%
6.071 | Window Jamb 45mm x 150mm | sq.ft | 62.64 | 62.64 | 100%
6.08 | Swing Type Steel Casement Window | sq.m | 1850 | 270 | 14.59%
6.09 | Awning Type Steel Casement Window | sq.m | 1800 | 270 | 15%
6.091 | W - 4, (0.6 x 0.6 m) Steel Jamb Awning Window with Clear Glass | set | 648 | 97.5 | 15.05%
6.1 | Glass Jalousie Window | sq.m | 650 | 120 | 18.46%
6.1009 | Jalousie Window with Clear Glass Blades on JalouPlus Type Silver Colored Frame | sq.ft | 82.04 | 34.5 | 42.05%
6.101 | W - 1, (2.50m x 1.25m) Steel Jamb Jalousie Window with Clear Glass Blades and with Fixed Clear Glass Transom | set | 2031.25 | 1290 | 63.51%
6.102 | W - 2, (1.70m x 1.25m) Steel Jamb Jalousie Window with Clear Glass Blades and Fixed Clear Glass Transom | set | 1381.25 | 1020 | 73.85%
6.103 | W - 3, (1.170m x 1.25m) Steel Jamb Jalousie Window with Clear Glass Blades and Fixed Clear Glass Transom | set | 950.63 | 1020 | 107.3%
6.104 | W - 1, ( 2.6 x 1.6 m) Jalousie Window with Clear Glass Blades on JalouPlus Type Silver Colored Frame and Fixed Clear Glass Transom on 50 x 150 mm Wooden Jamb complete with Accessories | set | 10188 | 1530 | 15.02%
6.105 | W - 2, ( 1.3 x 1.6 m) Jalousie Window with Clear Glass Blades on JalouPlus Type Silver Colored Frame and Fixed Clear Glass Transom on 50 x 150 mm Wooden Jamb complete with Accessories | set | 5072 | 780 | 15.38%
6.106 | Wood Jalousie Windows | sq.ft | 82.04 | 13.5 | 16.46%
6.11 | Fixed Glass Window on Metal Frame | sq.m | 450 | 1050 | 233.3%
6.12 | Aluminum Casement Window | sq.m | 4766.67 | 1050 | 22.03%
6.13 | Sliding Aluminum Window | sq.m | 5500 | 1050 | 19.09%
6.14 | Steel Encased Clear Glass Window with Grilles | sq.ft | 125 | 29.25 | 23.4%
6.15 | Security Grilles | sq.ft | 90 | 27 | 30%
6.151 | Window Grille (WG - 1) | set | 3027.65 | 465 | 15.36%
6.152 | Window Grille (WG - 2) | set | 2058.8 | 315 | 15.3%
6.153 | Window Grille (WG - 3) | set | 1416.94 | 225 | 15.88%
6.16 | Entrance, Lockset Standard | set | 467.5 | 90 | 19.25%
6.17 | Entrance, Handleset | set | 2950 | 354 | 12%
6.18 | Entrance, Cylindrical Lockset | set | 1640 | 200 | 12.2%
6.19 | Entrance, Lever Lockset | set | 2820 | 150 | 5.319%
6.2 | Hinges, Standard 3-1/2" x 3-1/2" | pa | 80 | 22 | 27.5%
7 | Steel Works |  |  |  | #DIV/0!
7.009 | LC 75 x 38 x 15 x 2.0mm | kg | 49.19 | 13.8 | 28.05%
7.01 | LC 150 x 75 x 25 x 6.0mm | kg | 49.19 | 13.8 | 28.05%
7.011 | LC 150 x 65 x 20 x 2.5mm | kg | 49.19 | 13.8 | 28.05%
7.012 | LC 150 x 65 x 20 x 2.0mm | kg | 49.19 | 13.8 | 28.05%
7.02 | LC 150 x 50 x 25 x 6.0mm | kg | 49.19 | 13.8 | 28.05%
7.021 | LC 255 x 90 x 25 x 5.0mm | kg | 49.19 | 13.8 | 28.05%
7.03 | L 125 x 125 x 6mm | kg | 55.98 | 15.6 | 27.87%
7.04 | L 100 x 100 x 6.35mm | kg | 55.98 | 15.6 | 27.87%
7.041 | L 100 x 100 x 6.0mm | kg | 55.98 | 15.6 | 27.87%
7.05 | L 75 x 75 x 6.35mm | kg | 55.98 | 15.6 | 27.87%
7.051 | L 75 x 75 x 6.35mm | kg | 55.98 | 15.6 | 27.87%
7.06 | L 50 x 50 x 6.35mm | kg | 55.98 | 15.6 | 27.87%
7.07 | L 65 x 65 x 6.35mm | kg | 55.98 | 15.6 | 27.87%
7.071 | L 65 x 65 x 6.0mm | kg | 55.98 | 15.6 | 27.87%
7.08 | L 90 x 90 x 6mm | kg | 55.98 | 15.6 | 27.87%
7.081 | L 75 x 75 x 6mm | kg | 55.98 | 15.6 | 27.87%
7.082 | L 60 x 60 x 6mm | kg | 55.98 | 15.6 | 27.87%
7.09 | L 50 x 50 x 6mm | kg | 55.98 | 15.6 | 27.87%
7.1 | L 50 x 50 x 5mm | kg | 55.98 | 15.6 | 27.87%
7.101 | L 50 x 50 x 2mm | kg | 55.98 | 15.6 | 27.87%
7.102 | L 40 x 40 x 5mm | kg | 55.98 | 15.6 | 27.87%
7.103 | L 25 x 25 x 3mm | kg | 55.98 | 15.6 | 27.87%
7.104 | L 20 x 20 x 2mm | kg | 55.98 | 15.6 | 27.87%
7.105 | Flat Bar 1" x ¼" | kg | 55.98 | 15.6 | 27.87%
7.106 | Flat Bar 1½" x ¼" | kg | 55.98 | 15.6 | 27.87%
7.11 | Steel Plate 1.20m x 2.40m x 6mm thk | pc | 9114 | 1620 | 17.77%
7.12 | Steel Plate 1.20m x 2.40m x 10mm thk | pc | 15743 | 2790 | 17.72%
7.13 | Steel Plate 1.20m x 2.40m x 12mm thk | pc | 19886 | 3150 | 15.84%
7.14 | Steel Plate 1.20m x 2.40m x 16mm thk | pc | 26514 | 4560 | 17.2%
7.15 | Anchor Bolt with Nuts and Washer, 20mmØ x 50mm x 300mm | pc | 45 | 18.75 | 41.67%
7.151 | Anchor Bolt with Nuts and Washer, 16mmØ x 50mm x 300mm | pc | 38 | 10 | 26.32%
7.16 | Anchor Bolt with Nuts and Washer, 12mmØ x 50mm x 150mm | pc | 27 | 8.75 | 32.41%
7.1601 | Anchor Bolt with Nuts and Washer, 12mmØ x 50mm x 300mm | pc | 34
7.17 | Anchor Bolt with Nuts and Washer, 10mmØ x 50mm x 125mm | pc | 12 | 3.75 | 31.25%
7.1701 | Anchor Bolt with Nuts and Washer, 10mmØ x 50mm x 150mm | pc | 14
7.18 | Machine Bolts ( 6 mm dia. ) | pc | 25 | 10 | 40%
7.181 | Machine Bolts ( 10 mm dia. ) | pc | 40 | 12 | 30%
7.182 | Machine Bolts ( 16 mm dia. ) | pc | 51 | 13.75 | 26.96%
7.19 | Plain Round Bar 16mmØ x 6m | pc | 598 | 135 | 22.58%
7.1901 | Plain Round Bar 12mmØ x 6m | pc | 323 | 75 | 23.22%
7.1902 | Plain Round Bar 10mmØ x 6m | pc | 221 | 54 | 24.43%
7.2 | Turn Buckle 16 mmØ | pc | 135 | 45 | 33.33%
7.21 | Turn Buckle 12 mmØ | pc | 80 | 40 | 50%
7.22 | 12mmØ Sag Rods with Standard Nuts and Washers | pc | 60 | 17.5 | 29.17%
7.23 | 10mmØ Sag Rods with Standard Nuts and Washers | pc | 42 | 12.25 | 29.17%
7.24 | Square Bar 19mm□ | pc | 955 | 198 | 20.73%
7.25 | Square Bar 12mm□ | pc | 365 | 90 | 24.66%
7.26 | G.I. Pipe 2"Ø Sch.40 | pc | 2095 | 465 | 22.2%
7.261 | G.I. Pipe 1-½"Ø Sch. 40 | pc | 1330 | 330 | 24.81%
7.262 | G.I. Pipe 1"Ø Sch. 40 | pc | 950 | 198 | 20.84%
7.27 | B.I. Pipe 100mmØ Sch.40 | pc | 4541 | 750 | 16.52%
7.28 | B.I. Pipe 75mmØ Sch.40 | pc | 3059 | 540 | 17.65%
7.29 | B.I. Pipe 50mmØ Sch.40 | pc | 1783 | 345 | 19.35%
7.3 | B.I. Pipe 38mmØ Sch.40 | pc | 1323 | 255 | 19.27%
7.31 | B.I. Pipe 32mmØ Sch.40 | pc | 828 | 225 | 27.17%
7.32 | B.I. Pipe 50mmØ Sch.20 | pc | 1378 | 210 | 15.24%
7.33 | B.I. Pipe 38mmØ Sch.20 | pc | 1006 | 159 | 15.81%
7.34 | B.I. Pipe 32mmØ Sch.20 | pc | 857 | 135 | 15.75%
7.35 | 50 mmØ Stainless Steel Pipe | pc | 2390 | 720 | 30.13%
7.36 | Welding Rod | kg | 103 | 30 | 29.13%
8 | Roofing Works |  |  |  | #DIV/0!
8.01 | Removal of Roofing Sheets | sq m |  | 9 | #DIV/0!
8.02 | Removal of Ridge Roll | pc |  | 18 | #DIV/0!
8.03 | Removal of Flashing | pc |  | 18 | #DIV/0!
8.04 | Removal of Gutter | pc |  | 18 | #DIV/0!
8.05 | Removal of Fascia Board | pc |  | 28 | #DIV/0!
8.06 | G.I. Long-Span Roofing, Corrugated, Pre-Painted, 1220mm x 0.5mm BMT | lm | 616.94 | 106.7 | 17.3%
8.061 | Corrugated G.I. Sheet Ga.26, 36" x 8' | pc | 480 | 259.6 | 54.08%
8.062 | Corrugated G.I. Sheet Ga.26, 36" x 9' | pc | 540 | 297 | 55%
8.063 | Corrugated G.I. Sheet Ga.26, 36" x 10' | pc | 600 | 330 | 55%
8.07 | G.I. Ridge Roll, Preformed, Pre-Painted, 0.610m x 2.440m x 0.5mm BMT | pc | 979.1 | 84 | 8.579%
8.071 | Ridge Roll Ga.26, 24"x 8' | pc | 230 | 57 | 24.78%
8.08 | G.I. Flashing, Preformed, Pre-Painted, 0.610m x 2.440m x 0.5mm BMT | pc | 979.1 | 82.5 | 8.426%
8.081 | Flashing, Pre-Painted, Ordinary, 0.915m x 2.440m x 0.4mm thk | pc | 605 | 91.5 | 15.12%
8.082 | Flashing Ga.26, 24"x 8' | pc | 303.33 | 75 | 24.73%
8.09 | J-Bolt (6mm dia.) | pc | 8.5 | 3 | 35.29%
8.1 | Teckscrew 2-1/2" | pc | 1.8 | 0.375 | 20.83%
8.1001 | Teckscrew 2-¾" | pc | 2.5
8.11 | Blind Rivets | pc | 1.35 | 0.3 | 22.22%
8.1101 | 3" Flat head Countersunk screw | pc | 2
8.12 | Umbrella Nails | kg | 100 | 13.5 | 13.5%
8.13 | Roof Sealant | L | 520 | 71.25 | 13.7%
9 | Ceiling and Carpentry Works |  |  |  | #DIV/0!
9.007 | Removal of Wooden Truss/ Beams | bd.ft |  | 6 | #DIV/0!
9.008 | Removal of Purlins | bd.ft |  | 6 | #DIV/0!
9.009 | Removal of Partition | sq.m |  | 10 | #DIV/0!
9.01 | Removal of Ceiling | sq.m |  | 10 | #DIV/0!
9.02 | Plywood, Ordinary 1/4" x 4' x 8' | pc | 320 | 135 | 42.19%
9.03 | Plywood, Ordinary 1/2" x 4' x 8' | pc | 550 | 281.4 | 51.16%
9.04 | Plywood, Ordinary 3/4" x 4' x 8' | pc | 850 | 408 | 48%
9.05 | Plywood, Marine 1/4" x 4' x 8' | pc | 450 | 153 | 34%
9.06 | Plywood, Marine 1/2" x 4' x 8' | pc | 720 | 285 | 39.58%
9.07 | Plywood, Marine 3/4" x 4' x 8' | pc | 1200 | 453 | 37.75%
9.08 | Metal Carrying Channel (12mm x 38mm x 5m x 0.8mm thk | pc | 97 | 45 | 46.39%
9.089 | Fiber Cement Board, 1/4" x 4' x 8' | pc | 590 | 210 | 35.59%
9.09 | Fiber Cement Ceiling Board (4.5mm thk) | pc | 370 | 156 | 42.16%
9.1 | Metal Double Furring Channel (19mm x 50mm x 3m x 0.5mm thk | pc | 130 | 45 | 34.62%
9.11 | Wall Angle 1" x 1" x 10' | pc | 45 | 28.5 | 63.33%
9.12 | Preformed Wire Clip | pc | 4 | 2.4 | 60%
9.13 | Rod Suspension Hanger with Adjustment Spring | pc | 145 | 45 | 31.03%
9.131 | Steel Angle | pc | 6 | 1.8 | 30%
9.14 | 25mm x 25mm x 300mm Wood slats @25mm clear spacing ceiling ventilation (provide stainless steel wire mesh inside) | pc | 245 | 75 | 30.61%
9.141 | Fascia Board, Wooden | bd.ft | 36 | 12 | 33.33%
9.142 | Fascia Board, Fiber Cement 10" x 12' | pc | 360 | 108 | 30%
9.143 | Fascia Board, Fiber Cement 12" x 8' | pc | 288 | 90 | 31.25%
9.15 | Rough Lumber, Sun Dried, Yakal | bd.ft | 120 | 45 | 37.5%
9.16 | Rough Lumber, Sun Dried, Guijo | bd.ft | 120 | 45 | 37.5%
9.17 | Rough Lumber, Sun Dried, Tanguile | bd.ft | 60 | 21 | 35%
9.18 | S4S Lumber, Kiln Dried, Tanguile | bd.ft | 62 | 25.5 | 41.13%
9.19 | Wood Preservative, Brown | L | 900 | 315 | 35%
9.2 | Lawanit, 1/4" thk | pc | 500 | 84 | 16.8%
9.21 | Finishing Nails | kg | 100 | 24 | 24%
9.22 | Concrete Nails | kg | 90 | 24 | 26.67%
10 | Electrical Works |  |  |  | #DIV/0!
| Roughing-ins |  |  |  | #DIV/0!
10.01 | Electrical Conduit uPVC, 15mmØ | pc | 60 | 26.25 | 43.75%
10.02 | Electrical Conduit uPVC, 20mmØ | pc | 95 | 30 | 31.58%
10.021 | Electrical Conduit uPVC, 25mmØ | pc | 140 | 37.5 | 26.79%
10.03 | Electrical Conduit uPVC, 32mmØ | pc | 180 | 48 | 26.67%
10.04 | Electrical Conduit uPVC, 40mmØ | pc | 250 | 50 | 20%
10.049 | RSC 20mmØ | pc | 112.5 | 108 | 96%
10.05 | RSC 25mmØ | pc | 175 | 163.75 | 93.57%
10.06 | RSC 40mmØ | pc | 430.5 | 267 | 62.02%
10.07 | RSC 50mmØ | pc | 550 | 356 | 64.73%
10.08 | Entrance Cap 20mm dia. | pc | 50 | 14.25 | 28.5%
10.09 | Entrance Cap 25mm dia. | pc | 70 | 20 | 28.57%
10.1 | Entrance Cap 32mm dia. | pc | 75 | 21.25 | 28.33%
10.11 | Entrance Cap 50mm dia. | pc | 117 | 30 | 25.64%
10.12 | Junction Box, 4" x 4" G.I. | pc | 15 | 20 | 133.3%
10.13 | Utility Box, 2" x 4" G.I. | pc | 30 | 20 | 66.67%
10.14 | Grounding Rod, 2.4m x 16mm dia. | pc | 150 | 42.5 | 28.33%
10.15 | Grounding Rod, 3.0m x 25mm dia. | pc | 250 | 62.5 | 25%
| Wires & Fixtures |  |  |  | #DIV/0!
10.16 | 3.5 mm² THHN Wire, Stranded | m | 20.33 | 8 | 39.35%
10.17 | 5.5 mm² THHN Wire, Stranded | m | 28.33 | 12 | 42.36%
10.171 | 8.0 mm² THHN Wire, Stranded | m | 32 | 16 | 50%
10.18 | 14.0 mm² THHN Wire, Stranded | m | 46 | 19.6 | 42.61%
10.19 | 30.0 mm² THHN Wire, Stranded | m | 116 | 41 | 35.34%
10.2 | 38.0 mm² THHN Wire, Stranded | m | 228 | 56 | 24.56%
10.21 | 80.0 mm² THHN Wire, Stranded | m | 480 | 96 | 20%
10.22 | 3.5 mm² TW(G) Wire, Stranded | m | 14 | 5 | 35.71%
10.23 | 5.5 mm² TW(G) Wire, Stranded | m | 21 | 11 | 52.38%
10.24 | 8.0 mm² TW(G) Wire, Stranded | m | 27 | 15 | 55.56%
10.25 | 14.0 mm² TW(G) Wire, Stranded | m | 32 | 18 | 56.25%
10.26 | 22.0 mm² TW(G) Wire, Stranded | m | 79 | 30 | 37.97%
10.27 | Duplex Convenience Outlet, Grounding Type, 20A, 250V | set | 120 | 59.8 | 49.83%
10.28 | Duplex Convenience Outlet, Grounding Type, 20A, 250V (WP) | set | 295 | 171 | 57.97%
10.29 | Single Pole Wall Switch in One Switch Plate (10 AMP, 230V) | set | 80 | 22.2 | 27.75%
10.3 | Single Convenience Outlet, Grounding Type, 15 AMP, 230V (EF) | set | 80 | 21 | 26.25%
10.301 | Aircon Outlet with Plate | pc | 282.75 | 58 | 20.51%
10.31 | 2 Single Pole Wall Switches in One Switch Plate (10 AMP, 230V) | set | 120 | 36 | 30%
10.32 | 3 Single Pole Wall Switches in One Switch Plate (10 AMP, 230V) | set | 150 | 48 | 32%
10.33 | Three Way Wall Switch (10 AMP, 230 V) | set | 110 | 58 | 52.73%
10.331 | Safety Switch 30A 2P | set | 603.25 | 121 | 20.06%
10.34 | 2 - 28W, 230V, 60Hz, AC Fluorescent Lighting Fixture, (Box Type) | set | 2600 | 390 | 15%
10.35 | 1 - 28W, 230V, 60Hz, AC Fluorescent Lighting Fixture, (Box Type) | set | 1600 | 240 | 15%
10.36 | 1 -18W, 230V, 60Hz AC, Compact Fluorescent Lighting Fixture with Medium Base Keyless Type Porcelain Receptacle | set | 490 | 75 | 15.31%
10.361 | FL 1 x 40W Industrial Type | set | 490 | 82.5 | 16.84%
10.362 | FL 2 x 40W Industrial Type | set | 840 | 141 | 16.79%
10.37 | Panel Box, Flush Type, 4 Branches | set | 750 | 136 | 18.13%
10.38 | Panel Box, Flush Type, 8 Branches | set | 1580 | 178.6 | 11.3%
10.39 | Panel Box, Flush Type, 12 Branches | set | 2530.75 | 286 | 11.3%
10.4 | Panel Box, Flush Type, 16 Branches | set | 3160 |  | 0%
10.41 | Circuit Breaker, 20A 2P | set | 350 | 350 | 100%
10.42 | Circuit Breaker, 30A 2P | set | 350 | 350 | 100%
10.43 | Circuit Breaker, 40A 2P | set | 400 | 400 | 100%
10.44 | Circuit Breaker, 50A 2P | set | 441.25 |  | 0%
10.441 | Circuit Breaker, 60A 2P | set | 441.25 | 441.25 | 100%
10.45 | Circuit Breaker, 70A 2P | set | 441.25 |  | 0%
10.46 | Circuit Breaker, 100A 2P | set | 700 |  | 0%
10.47 | Circuit Breaker, 125A 2P | set | 850 |  | 0%
10.48 | Circuit Breaker, 200A 2P | set | 1250 | 1250 | 100%
10.49 | Vibrating Bell 8" | set | 1500 | 150 | 10%
10.5 | Push Button, 10A, 230V | set | 400 | 40 | 10%
10.51 | Fire Alarm Bell, Vibrating Type | set | 2000 | 226 | 11.3%
10.52 | Fire Alarm Station, Manual Single Action | set | 1750 | 228 | 13.03%
10.53 | Fire Alarm Control Panel, One Zone | set | 5500 | 1500 | 27.27%
10.54 | Wall Fan, 60W, 230V, 60Hz | set | 1500 | 250 | 16.67%
10.55 | Electrical Tape | pc | 37.5 | 4 | 10.67%
11 | Plumbing Works |  |  |  | #DIV/0!
11.01 | Water Closet Flange | set | 262.5 |  | 0%
11.02 | Water Closet 1.6gpf with Accessories | set | 5500 | 5500 | 100%
11.03 | Urinal 0.8gpf | set | 5900 |  | 0%
11.04 | Concrete Counter Sink Type, with Lever Type Faucet and Complete Accessories | set | 3150 |  | 0%
11.041 | Faucet, Lavatory | set | 800 |  | 0%
11.05 | Faucet, Hose Bibb, Brass 1/2"Ø | pc | 190 | 44 | 23.16%
11.051 | Faucet | set | 705.8 | 142 | 20.12%
11.06 | Lavatory, Pedestal Type with Accessories | set | 1300 | 320 | 24.62%
11.061 | Lavatory, Including Fittings and Accessories | set | 6500 | 1300 | 20%
11.062 | S.S. Sink with Strainer and P-Trap | set | 3000 | 668 | 22.27%
11.07 | PP-R Pipe 2"Ø x 4.0m | pc | 1116 | 499.2 | 44.73%
11.08 | PP-R Pipe 1-1/4"Ø x 4.0m | pc | 697.5 | 261.6 | 37.51%
11.09 | PP-R Pipe 1"Ø x 4.0m | pc | 500 | 189.3 | 37.86%
11.1 | PP-R Pipe 3/4"Ø x 4.0m | pc | 300 | 139.2 | 46.4%
11.11 | PP-R Pipe 1/2"Ø x 4.0m | pc | 200 | 89.1 | 44.55%
11.12 | PP-R Coupling, 2"Ø | pc | 53 | 31.5 | 59.43%
11.13 | PP-R Coupling, 1-1/4"Ø | pc | 31.25 | 12 | 38.4%
11.14 | PP-R Coupling, 1"Ø | pc | 25 | 6.3 | 25.2%
11.15 | PP-R Coupling, 3/4"Ø | pc | 15 | 4.8 | 32%
11.16 | PP-R Coupling, 1/2"Ø | pc | 10 | 3.3 | 33%
11.17 | PP-R Coupling Reducer, 1" x 3/4"Ø | pc | 20 | 7.8 | 39%
11.18 | PP-R Elbow 90˚ x 2"Ø | pc | 74 | 57 | 77.03%
11.19 | PP-R Elbow 90˚ x 1-1/4"Ø | pc | 35 | 16.8 | 48%
11.2 | PP-R Elbow 90˚ x 1"Ø | pc | 25 | 9.3 | 37.2%
11.21 | PP-R Elbow 90˚ x 3/4"Ø | pc | 15 | 5.7 | 38%
11.22 | PP-R Elbow 90˚ x 1/2"Ø | pc | 15 | 4.8 | 32%
11.221 | PP-R Elbow Reducer, 1" x 3/4"Ø | pc | 80 | 13.2 | 16.5%
11.23 | PP-R Tee, 2"Ø | pc | 50 | 73.8 | 147.6%
11.24 | PP-R Tee, 1-1/4"Ø | pc | 40 |  | 0%
11.25 | PP-R Tee, 1"Ø | pc | 35 |  | 0%
11.26 | PP-R Tee, 3/4"Ø | pc | 27 |  | 0%
11.27 | PP-R Tee, 1/2"Ø | pc | 20 |  | 0%
11.28 | PP-R Tee Reducer, 1-1/4" x 1/2"Ø | pc | 52 |  | 0%
11.29 | PP-R Tee Reducer, 1" x 3/4"Ø | pc | 40 |  | 0%
11.291 | PP-R Tee Reducer, 3/4" x 1/2"Ø | pc | 25 |  | 0%
11.3 | PP-R End Cap, 1-1/4"Ø | pc | 32 |  | 0%
11.31 | PP-R End Cap, 3/4"Ø | pc | 20 | 20 | 100%
11.32 | PP-R Plug, 1"Ø | pc | 20 |  | 0%
11.33 | PP-R Plug, 3/4"Ø | pc | 15 |  | 0%
11.34 | PP-R Plug, 1/2"Ø | pc | 10 | 3.6 | 36%
11.35 | Gate Valve, 1-1/4"Ø | pc | 850 | 250.5 | 29.47%
11.36 | Gate Valve, 2"Ø | pc | 1315 | 471 | 35.82%
11.37 | Gate Valve, 1"Ø | pc | 590 | 156.6 | 26.54%
11.38 | Gate Valve, 3/4"Ø | pc | 520 | 124.5 | 23.94%
11.39 | Check Valve, Horizontal, 1"Ø | pc | 167 | 81.3 | 48.68%
11.4 | Check Valve, Horizontal, 3/4"Ø | pc | 350 | 60.3 | 17.23%
11.41 | Check Valve, Horizontal, 1/2"Ø | pc | 550 | 51.3 | 9.327%
11.42 | Teflon Tape | roll | 15 | 2.1 | 14%
11.43 | Tissue Holder | pc | 250 | 44.1 | 17.64%
11.44 | S.S. Grab Rail 1-1/2"Ø | set | 5000 | 847.5 | 16.95%
11.441 | S.S. Floor Drain 4" x 4" | set | 150 | 42 | 28%
11.45 | Mirror | sq.ft | 100 | 84.75 | 84.75%
12 | Sanitary Works |  |  |  | #DIV/0!
12.01 | Catch Basin | unit | 1500 |  | 0%
12.011 | Three Chamber Septic Vault | unit | 125548.48 |  | 0%
12.02 | Stainless Steel Vent Protection Screen, 6'' | pc | 1600 |  | 0%
12.03 | Stainless Steel Vent Protection Screen, 2'' | pc | 600 | 600 | 100%
12.04 | PVC Sanitary Pipe 6"Ø x 3.0m | pc | 1050 | 1050 | 100%
12.05 | PVC Sanitary Pipe 4"Ø x 3.0m | pc | 400 |  | 0%
12.06 | PVC Sanitary Pipe 3"Ø x 3.0m | pc | 300 | 300 | 100%
12.07 | PVC Sanitary Pipe 2"Ø x 3.0m | pc | 200 |  | 0%
12.071 | PVC Sanitary Pipe 1"Ø x 3.0m | pc | 136 | 40.8 | 30%
12.08 | PVC Sanitary Elbow 90˚ x 6"Ø | pc | 280 | 43.2 | 15.43%
12.09 | PVC Sanitary Elbow 90˚ x 4"Ø | pc | 140 | 28.8 | 20.57%
12.1 | PVC Sanitary Elbow 90˚ x 3"Ø | pc | 85 | 15.9 | 18.71%
12.11 | PVC Sanitary Elbow 90˚ x 2"Ø | pc | 45 | 7.5 | 16.67%
12.111 | PVC Sanitary Elbow 90˚ x 1"Ø | pc | 16 | 4.8 | 30%
12.12 | PVC Sanitary Elbow 1/8 x 6"Ø | pc | 123.75 | 37.125 | 30%
12.13 | PVC Sanitary Elbow 1/8 x 4"Ø | pc | 120 | 24.75 | 20.62%
12.14 | PVC Sanitary Elbow 1/8 x 3"Ø | pc | 70 | 11.85 | 16.93%
12.141 | PVC Sanitary Elbow 1/8 x 2"Ø | pc | 40 | 6.15 | 15.38%
12.15 | PVC Sanitary Wye 6" x 6" | pc | 247.5 | 74.25 | 30%
12.16 | PVC Sanitary Wye 4" x 4" | pc | 230 | 49.5 | 21.52%
12.17 | PVC Sanitary Wye 3" x 3" | pc | 110 | 24.3 | 22.09%
12.18 | PVC Sanitary Wye 2" x 2" | pc | 55 | 11.4 | 20.73%
12.19 | PVC Sanitary Wye Reducer, 6" x 4" | pc | 165 | 49.5 | 30%
12.2 | PVC Sanitary Wye Reducer 4" x 2" | pc | 97 | 29.1 | 30%
12.21 | PVC Sanitary Tee 6" x 6" | pc | 230 | 48 | 20.87%
12.211 | PVC Sanitary Tee 4" x 4" | pc | 160 | 41.4 | 25.87%
12.22 | PVC Sanitary Tee 2" x 2" | pc | 55 | 10.8 | 19.64%
12.221 | PVC Sanitary Tee Reducer 4" x 2" | pc | 190 | 26.7 | 14.05%
12.23 | Brass Cleanout 6" x 6" | pc | 675 | 202.5 | 30%
12.24 | Brass Cleanout 4" x 4" | pc | 350 | 105 | 30%
12.25 | Brass Cleanout 2" x 2" | pc | 180 | 54 | 30%
12.26 | PVC P-Trap 4" | pc | 262 | 78.6 | 30%
12.27 | PVC P-Trap 2" | pc | 100 | 19.8 | 19.8%
12.28 | Closet Bend, 4'' | pc | 100 | 30 | 30%
12.29 | Roof Drain | pc | 250 | 75 | 30%
12.3 | PVC Cement | can | 250 | 51 | 20.4%
13 | Painting Works |  |  |  | #DIV/0!
13.01 | Neutralizer | gal | 145.2 | 45 | 30.99%
13.02 | Latex, Flat | gal | 650 | 152.5 | 23.46%
13.03 | Masonry Putty | gal | 350 | 102.5 | 29.29%
13.04 | Latex, Semi Gloss | gal | 700 | 162.5 | 23.21%
13.05 | Acri Color | qrt | 181.5 | 52.5 | 28.93%
13.06 | Enamel, Flatwall | gal | 650 | 160 | 24.62%
13.07 | Glazing Putty | gal | 541.2 | 157.5 | 29.1%
13.08 | Enamel, Semi Gloss | gal | 700 | 161.25 | 23.04%
13.09 | Paint Thinner | gal | 286 | 87.5 | 30.59%
13.1 | Lacquer Thinner | gal | 342.1 | 112.5 | 32.89%
13.11 | Primer, Zinc Chromate | gal | 590.7 | 175 | 29.63%
13.12 | Primer, Epoxy | gal | 688.6 | 187.5 | 27.23%
13.121 | Primer, Red Oxide | gal | 535.7 | 112.5 | 21%
13.13 | Gloss Acrylic Paint | gal | 566.6 | 162.5 | 28.68%
14 | Tile Works |  |  |  | #DIV/0!
14.01 | Ceramic Glazed Tile | sq.m | 740 | 296 | 40%
14.011 | Glazed Wall Tiles 20cm x 20cm | pc | 29.6 | 12 | 40.54%
14.012 | Glazed Wall Tiles 60cm x 60cm | pc | 266.4 | 106.8 | 40.09%
14.02 | Ceramic Unglazed Tile | sq.m | 850 | 340 | 40%
14.021 | Unglazed Floor Tiles 20cm x 20cm | pc | 34 | 15.2 | 44.71%
14.022 | Unglazed Floor Tiles 60cm x 60cm | pc | 306 | 122.4 | 40%
14.03 | Tile Adhesive 25 kg/bag | bag | 300 | 104 | 34.67%
14.04 | Tile Trim 6mm | pc | 97.75 | 46 | 47.06%
14.05 | Tile Grout 5 kg/bag | bag | 150 | 68 | 45.33%
15 | Waterproofing |  |  |  | #DIV/0!
15.01 | Waterproofing, Cementitious | gal | 750 | 246 | 32.8%
Others
| Glazed wall tiles 40cm x 40cm | pc | 41.75
| Unglazed wall tiles 40cm x 40cm | pc | 51.5
Note on A4: UNIT
Note on E13: To be filled up by the DEPED Engineers. The "Consolidated and Approved" CMPD will be disseminated by the Central Office.
Note on F16: old dbase
Note on F23: old dbase
Note on F47: old dbase
Note on F54: old dbase
Note on F55: old dbase
Note on B94: Deped: purlin
Note on B95: Deped: purlin
Note on B98: Deped: purlin
Note on B100: Deped: angle bar on every purlin
Note on B101: Deped: top chord
Note on B103: Deped: vertical and diagonal web members
Note on B105: Deped: vertical and diagonal web members
Note on B106: Deped: vertical and diagonal web members
Note on B119: Deped: gusset plate for trusses/ splice plate connector
Note on B120: Deped: cross bracing
Note on B121: trusses - column plate connector
Note on B123: for base plate @ grid A, B, C
Note on B129: purlin - top chord connector/ splice connector
Note on B132: Deped: cross bracing
Note on B133: Deped: cross bracing
Note on B139: Corridor railing grille
Note on B140: Corridor railing grille
Note on B141: corridor railing
Note on B152: ramp railing
Note on B331: PVC drain pipe
Note on B332: PVC drain pipe
Note on B333: downspout
Note on B334: Handwashing
Note on B338: downspout
Note on B339: Handwashing
Note on B340: Handwashing
Note on B343: downspout
Note on B344: downspout
Note on B347: downspout
Note on B353: Handwashing
Note on B354: Handwashing
Note on B357: Handwashing

## BLANK BOQ
[Bidder's Letterhead]
[Date]
To: Tarlac State University
Re: [Invitation to Bid No.]
BILL OF QUANTITIES
Item No. | Work Description | Materials, supplies, etc. |  | Work Item |  | Direct Cost | Indirect Cost | Total Direct & Indirect Cost | Value Added Tax | Total Cost
[6 empty] | Materials, Labor, & Equipment | Overhead, Contingencies, Miscellaneous, & Profit
|  | Quantity | Unit | Quantity | Unit
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
1 | General Requirements
1.1 | Mobilization & Demobilization |  |  | 1 | lot
1.2 | Construction Occupational Safety & Health |  |  | 1 | lot
1.3 | Temporary Facilities, Billboard and Barricade |  |  | 1 | lot
1.4 | Testing and commissioning for fire pump assembly (including Pressure and Leak Testing of Pipes) |  |  | 1 | lot
Sub-Total
2 | Mechanical Works
2.1 | Fire Pump System |  |  | 1 | lot
2.1.1 | UL/FM Vertical Turbine Electric-Driven: 400GPM @ 80PSI, 30HP/60HZ/ 230V/ 3PH, with Control Panel, Air Relief Valve (UL/ FM), Circulation Safety Valve (UL/FM), Pump Outlet Gauges | 1 | set
2.1.2 | Submersible Jockey Pump: 15GPM @ 90PSI, 2HP/ 60HZ/ 230V/3PH, with Control Panel | 1 | set
2.2 | Fire Pump Valves and Accessories |  |  | 1 | lot
2.2.1 | OS & Y Gate Valve, 100mm Ø, UL/FM | 2 | pc.
2.2.2 | Supervisory Switch, UL/FM | 2 | pc.
2.2.3 | Rubber Expansion Joint, 100mm Ø (for Fire Pump Discharge) | 1 | pc.
2.2.4 | Check Valve 100mm Ø, UL/FM (for Fire Pump Discharge) | 2 | pc.
2.2.5 | Gate Valve 40mm Ø, UL/FM (for Jockey Pump Discharge) | 1 | pc.
2.2.6 | Check Valve 40mm Ø (for Jockey Pump Discharge) | 1 | pc.
2.2.7 | Alarm Check Valve 100mm Ø, UL/FM | 1 | pc.
2.2.8 | Flow Meter 100mm Ø, UL/FM (for Fire Pump Test Line) | 1 | pc.
2.2.9 | Fire Protection Pressure Relief Valve 100mm Ø, UL/FM | 1 | pc.
2.3 | Floor Control Assembly |  |  | 1 | lot
2.3.1 | OS & Y Gate Valve 80mm Ø, UL/FM | 5 | pc.
2.3.2 | Supervisory Switch, UL/FM | 5 | pc.
2.3.3 | Waterflow Switch 80mm Ø, UL/FM | 5 | pc.
2.3.4 | Gate Valve 25mm Ø, UL/FM | 5 | pc.
2.3.5 | Sight Glass, 25mm Ø | 5 | pc.
2.3.6 | Gate Valve 50mm Ø, UL/FM | 5 | pc.
2.3.7 | Pressure Gauge | 5 | pc.
2.4 | Standpipe |  |  | 1 | lot
2.4.1 | Fire Hose Valve 65mm Ø | 16 | pc.
2.4.2 | Fire Department Connection 65mm Ø x 65mm Ø x 100mm Ø, UL/FM | 4 | pc.
2.4.3 | Indoor Fire Hose Cabinet, Surfaced Type, Complete with 40mm Ø Angle Hose Valve, 40mm Ø Hose Nozzle, 40mm Ø x 30m Fire Hose Double Jacket and, and Hose Rack | 16 | set
2.5 | Inspector's Test Connection |  |  | 1 | lot
2.5.1 | Sight Glass, 25mm Ø | 5 | pc.
2.5.2 | Gate Valve 25mm Ø, UL/FM | 5 | pc.
2.6 | Pipes and Fittings |  |  | 1 | lot
2.6.1 | 100mm Ø, Black Steel Pipe Sch.40 Seemless Plain Ends ASTM A53 Gr. B 6m | 42 | pc.
2.6.2 | 80mm Ø, Black Steel Pipe Sch.40 Seemless Plain Ends ASTM A53 Gr. B 6m | 125 | pc.
2.6.3 | 65mm Ø, Black Steel Pipe Sch.40 Seemless Plain Ends ASTM A53 Gr. B 6m | 5 | pc.
2.6.4 | 50mm Ø, Black Steel Pipe Sch.40 Seemless Plain Ends ASTM A53 Gr. B 6m | 5 | pc.
2.6.5 | 40mm Ø, Black Steel Pipe Sch.40 Seemless Plain Ends ASTM A53 Gr. B 6m | 19 | pc.
2.6.6 | 32mm Ø, Black Steel Pipe Sch.40 Seemless Plain Ends ASTM A53 Gr. B 6m | 33 | pc.
2.6.7 | 25mm Ø, Black Steel Pipe Sch.40 Seemless Plain Ends ASTM A53 Gr. B 6m | 14 | pc.
2.6.8 | Fittings, Sch.40, Black Steel (Elbow Standard,Tee Straight,Tee Reducer,Concentric Reducer,Eccentric Reducer, Grooved Fittings,Slip On Flange,Blind Flange,B.I. End Cap and Etc.) | 1 | lot
2.6.9 | Pipe Hangers, Supports and Sleeves | 1 | lot
2.6.10 | Epoxy Enamel Paint for Steel Pipes (including surface preparation, primer and 2 top coats and primer) | 1 | lot
2.7 | Sprinklers Heads, FHCs, and Accessories |  |  | 1 | lot
2.7.1 | K = 5.6, Quick Response, 155°F, 1/2" NPT, Pendent Type w/ escutcheon plate | 12 | pc.
2.7.2 | Indoor Fire Hose Cabinet, Surfaced Type, Complete with 40mm Ø Angle Hose Valve, 40mm Ø Hose Nozzle, 40mm Ø x 30m Fire Hose Double Jacket and, and Hose Rack | 20 | set
2.7.3 | Fire Department Connection 65mm Ø x 65mm Ø x 100mm Ø, UL/FM | 1 | pc.
3 | Structural Works
3.1 | Concrete and Steel Works |  |  | 1 | lot
3.1.1 | Excavation | 1167.94 | m³
3.1.2 | Concrete 3000 psi | 70.41 | m³
3.1.3 | Reinforcement
3.1.3.1 | 16mm ∅ x 6m DSB Grade 40 | 3227.466 | kg
3.1.3.2 | 12mm ∅ x 6m DSB Grade 40 | 1083.5132 | kg
3.1.3.3 | 10mm ∅ x 6m DSB Grade 40 | 335.2778 | kg
3.1.4 | #16 GI Tie Wire | 78 | kg
3.1.5 | 20 mm ∅ Stainless Steel Bar Ladder Rung | 9 | pc
3.2 | Roof Framing |  |  | 1 | lot
3.2.1 | 2" x 4" x 1.5 mm thk. G.I. Tubulars | 5 | pc
3.2.2 | 2" x 4" x 1.5 mm thk. G.I. C- Purlins | 10 | pc
3.2.3 | 2" x 10" x 1.5 mm thk. G.I. C- Purlins | 4 | pc
3.2.3 | 1 1/2" x 1 1/2" x 3.5 mm thk. Anglebar | 1 | pc
3.2.3 | 10mm ∅ Round Bar | 2 | pc
3.2.4 | Epoxy Primer Paint for Steel Framing | 1 | lot
3.2.5 | Welding Rods | 1 | lot
4 | Architectural Works
4.1 | Masonry and Plastering Works |  |  | 1 | lot
4.1 | 4" CHB Wall (including mortar and 10 mm steel reinforcement every three CHB layer and 0.60 m horizontal spacing) | 46.92 | m²
4.2 | Cement Plastering of Interior and Exterior Walls, Column, Beams, etc. | 89.42 | m²
4.2 | Roofing Materials |  |  | 1 | lot
4.2.1 | 0.50 mm thk. Prepainted Rib Type Roofing | 34 | m
4.2.2 | 0.50 mm thk. Prepainted Roof Flashing | 9 | m
4.2.3 | 0.50 mm thk. Prepainted Roof Gutter | 3 | m
4.2.4 | 10 mm thk. Aluminum Fim Laminated Foam Two Sided w/ 12.5 mm welded wire #21 | 34 | m²
4.2.5 | Tekscrew,Blind Rivets,Sealant, etc. | 1 | lot
4.3 | Floor Finishing Works |  |  | 1 | lot
4.3.1 | Smooth Cement Floor Finish | 14.61 | m²
4.4 | Ceiling Works |  |  | 1 | lot
4.4.1 | 6" x 0.50 mm Pre- Painted Metal Spandrel including air ventilation holes, mouldings and framing system | 20 | m²
4.5 | Painting and Water Proofing Works |  |  | 1 | lot
4.5.1 | Semi-Gloss Latex Paint Finish on Exterior and Interior Wall, Beams, Columns, Ledges, etc. (surface preparation, primer and 2 top coats) | 89.42 | m²
4.5.2 | Waterproofing of inside perimeter wall and floor (surface preparation, appplication of 5 coats of cementitious waterproofing) | 75.24 | m²
4.6 | Doors |  |  | 1 | lot
4.6.1 | D1 - Doubel Swing Steel Louver Door with Metal Door Jamb and Complete Accessories | 1 | set
4.7 | Windows |  |  | 1 | lot
4.7.1 | W1 - Steel Louvered Window with Tubular Steel Framing | 1 | set
4.7.2 | W2- Steel Louvered Window with Tubular Steel Framing | 1 | set
5 | Plumbing
5.1 | Stormdrain, Downspout and Fittings |  |  | 1 | lot
5.1.1 | 75 mm Ø S1000 PVC Pipe | 4 | pc
5.1.2 | 75 mm Ø Elbow PVC | 6 | pc
5.1.3 | 75 mm Ø Aluminum Downspout Strainer | 2 | set
5.1.4 | 75 mm Ø HDPE Pipe for CisternWater Supply Line | 130 | m
5.1.5 | 75 mm Ø Heavy Duty Brass Body Water Meter | 1 | pc
5.1.6 | 75 mm Ø Heavy Duty Brass Body Gate Valve | 2 | pc
5.1.7 | 76 mm Ø Heavy Duty Brass Body Check Valve | 1 | pc
5.1.8 | 77 mm Ø Heavy Duty Brass Body Float Valve | 1 | pc
5.1.9 | Assorted Fittings and Accessories | 1 | lot
6 | Electrical Works
6.1 | Lighting, Power and Fire Pump System |  |  | 1 | lot
6.1.1 | 36W Linear LED Pendant Light [Color: Daylight¦ Black Housing] | 4 | set | p
6.1.2 | 12W Surface Mounted LED Panel Light [Color: Daylight] | 5 | set
6.1.3 | Universal Duplex Convenience Outlet | 2 | set
6.1.4 | 2 Gang Switch Wide Series with LED | 1 | set
6.1.5 | 2" x 4" GI Utility Box with Connector and Cover | 2 | set
6.1.6 | 4" x 4" GI Junction Box with Connector and Cover | 4 | set
6.1.7 | Fire Pump Room Panel (Bolt-on) Main: 450AT 3P MCCB Branch: 1-450AT 3P MCCB, 1-60AT 3P MCCB, 1-30AT 3P MCCB, 2-20AT 2P MCCB Space: 0 With Busbars and Terminal Lugs Nema-1 Enclosure | 1 | set
6.1.8 | 12 inche x 12 inches x 4 inches (L x W x D) GA 16 Metal Pull Box | 5 | set
6.1.9 | 3" Ø RSC | 40 | pc
6.1.10 | 1 1/2" Ø RSC | 2 | pc
6.1.11 | 3/4" Ø RSC | 2 | pc
6.1.12 | 1/2" Ø RSC | 5 | pc
6.1.13 | 1 1/2" Ø LFMC | 8 | m
6.1.14 | 3/4" Ø LFMC | 10 | m
6.1.15 | 1/2" Ø Mica Tube | 10 | m
6.1.16 | 100 mm² Cu. THHN/THWN (STR) | 375 | m
6.1.17 | 30 mm² Cu. THHN/THWN (STR) | 150 | m
6.1.18 | 14 mm² Cu. THHN/THWN (STR) | 10 | m
6.1.19 | 5.5 mm² Cu. THHN/THWN (STR) | 25 | m
6.1.20 | 3.5 mm² Cu. THHN/THWN (STR) | 100 | m
6.1.21 | 10' Ground rod with solderless connector | 1 | lot
6.1.22 | Conduit Support, Connector and Hanger (Elbow, Box Connector, Angle Bar, U-Bolt, Dynabolt with nut and washer) | 1 | lot
| Total Bid Price | (State total amount of Bid in words) | [7 empty] | (Total amount in figres)
[Signature]
[Name of Authorized Signatory]
[Position/Title of Authorized Signatory]

## S-CURVE (hidden)
PROJECT | EXPANSION OF GUARD HOUSE WITH CCTV CONTROL ROOM
DURATION | 180 CALENDAR DAYS
SUBJECT | PROPOSED CONSTRUCTION SCHEDULE
ITEM | SCOPE OF WORK | COST | WT. % | 30 Calendar Days | [5 empty] | 30 Calendar Days | [5 empty] | 30 Calendar Days | [5 empty] | 30 Calendar Days | [5 empty] | 30 Calendar Days | [5 empty] | 30 Calendar Days
|  |  | 0 | 5 | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 45 | 50 | 55 | 60 | 65 | 70 | 75 | 80 | 85 | 90 | 95 | 100 | 105 | 110 | 115 | 120 | 125 | 130 | 135 | 140 | 145 | 150 | 155 | 160 | 165 | 170 | 175 | 180
1 | General Requirements | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2 | Demolition, Hauling, Disposal and Restoration | #REF! | WT. % 0: #REF!; 30 Calendar Days 5: #REF!; 30 Calendar Days 10: #REF!; 30 Calendar Days 175: #REF!; 30 Calendar Days 180: #REF!
3 | Structural Works | #REF! | WT. % 0: #REF!; 30 Calendar Days 15: #REF!; 30 Calendar Days 20: #REF!; 30 Calendar Days 25: #REF!; 30 Calendar Days 30: #REF!; 30 Calendar Days 35: #REF!; 30 Calendar Days 40: #REF!; 30 Calendar Days 45: #REF!; 30 Calendar Days 50: #REF!; 30 Calendar Days 55: #REF!; 30 Calendar Days 60: #REF!; 30 Calendar Days 65: #REF!; 30 Calendar Days 70: #REF!; 30 Calendar Days 75: #REF!; 30 Calendar Days 80: #REF!; 30 Calendar Days 85: #REF!; 30 Calendar Days 90: #REF!; 30 Calendar Days 95: #REF!
4 | Architectural Works | #REF! | WT. % 0: #REF!; 30 Calendar Days 95: #REF!; 30 Calendar Days 100: #REF!; 30 Calendar Days 105: #REF!; 30 Calendar Days 110: #REF!; 30 Calendar Days 115: #REF!; 30 Calendar Days 120: #REF!; 30 Calendar Days 125: #REF!; 30 Calendar Days 130: #REF!; 30 Calendar Days 135: #REF!; 30 Calendar Days 140: #REF!; 30 Calendar Days 145: #REF!; 30 Calendar Days 150: #REF!; 30 Calendar Days 155: #REF!; 30 Calendar Days 160: #REF!; 30 Calendar Days 165: #REF!; 30 Calendar Days 170: #REF!; 30 Calendar Days 175: #REF!; 30 Calendar Days 180: #REF!
5 | Plumbing Works | #REF! | WT. % 0: #REF!; 30 Calendar Days 95: #REF!; 30 Calendar Days 100: #REF!; 30 Calendar Days 105: #REF!; 30 Calendar Days 110: #REF!
6 | #REF! | #REF! | WT. % 0: #REF!; 30 Calendar Days 55: #REF!; 30 Calendar Days 60: #REF!; 30 Calendar Days 65: #REF!; 30 Calendar Days 70: #REF!; 30 Calendar Days 75: #REF!; 30 Calendar Days 80: #REF!; 30 Calendar Days 85: #REF!; 30 Calendar Days 90: #REF!
| TOTAL | #REF! | WT. % 0: #REF!; 30 Calendar Days 5: #REF!; 30 Calendar Days 35: #REF!; 30 Calendar Days 65: #REF!; 30 Calendar Days 95: #REF!; 30 Calendar Days 125: #REF!; 30 Calendar Days 155: #REF!
|  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | CUMULATIVE PROGRESS (%) | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | 30 CD ACCOMPLISHMENT (%) | 30 Calendar Days 5: #REF!; 30 Calendar Days 35: #REF!; 30 Calendar Days 65: #REF!; 30 Calendar Days 95: #REF!; 30 Calendar Days 125: #REF!; 30 Calendar Days 155: #REF!
|  | 30CD ACCOMPLISHMENT (Php) | 30 Calendar Days 5: #REF!; 30 Calendar Days 35: #REF!; 30 Calendar Days 65: #REF!; 30 Calendar Days 95: #REF!; 30 Calendar Days 125: #REF!; 30 Calendar Days 155: #REF!

## ABC (hidden)
ITEM NO. | DESCRIPTION | QTY | UNIT | MATERIALS | LABOR & EQUIPMENT | ESTIMATED DIRECT COST | MARK-UPS IN PERCENT |  | TOTAL MARK-UP |  | VAT | TOTAL INDIRECT COST | TOTAL COST | UNIT COST
[7 empty] | OCM | PROFIT | % | Value
|  | 1 | pc. |  |  |  | -
|  | 1 | pc.
|  | 2 | pc.
|  | 4 | pc.
|  | 1 | set
|  | 1 | set
|  | 8 | pc.
|  | 2 | pc.
|  | 1 | pc.
|  | 3 | pc.
|  | 1 | pc.
|  | 2 | pc.
|  | 1 | pc.
|  | 1 | pc.
|  | 1 | set
|  | 5 | set
|  | 4 | pc. |  |  |  | 1000 | 220
|  | 1 | pc. |  |  |  | 1000 | 220
|  | 1 | pc. |  |  |  | 1000 | 220
|  | 1 | lot |  |  |  | 2400 | 528
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
[6 empty] | (3)+(4) |  |  | (6)+(7) | (5) x (8) | 5% ( (5) + (9) ) | (9) + (10) | (5+11) x (1) | (12) / (1)
1 | General Requirements
1.1 | Mobilization & Demobilization | 1 | lot | 0 | #REF! | #REF! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF!
1.2 | Construction Occupational Safety & Health | 1 | lot | #REF! | #REF! | #REF! | 0 | 8 | 8 | #REF! | #REF! | #REF! | #REF! | #REF!
1.3 | Temporary Facilities, Billboard and Barricade | 1 | lot | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
1.4 | Testing and commissioning for fire pump assembly (including Pressure and Leak Testing of Pipes) | 1 | lot | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
1.5 | #REF! | 1 | lot | #REF! | #REF! | #REF! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF!
|  | 528 11: SUB TOTAL; 528 12: #REF! | #REF!
2 | Demolition, Hauling, Disposal and Restoration
2.1 | #REF! | 1 | lot | 0 | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
2.2 | #REF! | 1 | lot | 0 | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
2.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
|  | 528 11: SUB TOTAL; 528 12: #REF! | #REF!
3 | Structural Works
3.1 | #REF! | 1 | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
3.2 | #REF! | 1 | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
3.3 | #REF! | 1 | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
3.4 | #REF! | 1 | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
3.5 | #REF! | 1 | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
3.6 | #REF! | 1 | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
|  | 528 11: SUB TOTAL; 528 12: #REF! | #REF!
4 | Architectural Works
4.1 | Supervisory Switch, UL/FM
4.1.1 | #REF! | 1 | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
4.1.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
4.2 | Gate Valve 50mm Ø, UL/FM
4.2.1 | #REF! | 1 | lot | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
4.2.2 | #REF! | 1 | lot | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
4.3 | Fire Department Connection 65mm Ø x 65mm Ø x 100mm Ø, UL/FM
4.3.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
4.3.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
4.4 | #REF!
4.4.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
4.4.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
4.5 | 80mm Ø, Black Steel Pipe Sch.40 Seemless Plain Ends ASTM A53 Gr. B 6m
4.5.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
4.5.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
4.5.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
4.5.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
4.5.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
4.6 | Epoxy Enamel Paint for Steel Pipes (including surface preparation, primer and 2 top coats and primer)
4.6.1 | #REF! | #REF! | #REF! | 38160.8125 | 6256.25 | 44417.0625 | 12 | 8 | 20 | 8883.4125 | 2665.0238 | 11548.44 | #REF! | #REF!
4.6.2 | #REF! | #REF! | #REF! | 45000 | 2250 | 47250 | 12 | 8 | 20 | 9450 | 2835 | 12285 | #REF! | #REF!
4.7 | Indoor Fire Hose Cabinet, Surfaced Type, Complete with 40mm Ø Angle Hose Valve, 40mm Ø Hose Nozzle, 40mm Ø x 30m Fire Hose Double Jacket and, and Hose Rack
4.7.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
4.7.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
4.8 | #REF!
4.8.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
4.8.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
4.8.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
4.9 | #REF!
4.9.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
4.9.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
4.1 | #REF!
4.10.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
4.10.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
4.10.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
4.11 | #REF!
4.11.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
|  | 528 11: SUB TOTAL; 528 12: #REF! | #REF!
5 | Plumbing Works
5.1 | Concrete and Steel Works
5.1.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
5.1.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
5.1.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
|  | 528 11: SUB TOTAL; 528 12: #REF! | #REF!
6 | #REF!
#REF! | #REF!
6.1.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.1.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.1.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.1.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.1.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.1.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.1.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.1.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.1.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.1.10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.1.11 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.1.12 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.1.13 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.1.14 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.1.15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.1.16 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.1.17 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
|  | 528 11: SUB TOTAL; 528 12: #REF! | #REF!
#REF! | #REF!
6.2.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.2.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.2.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.2.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.2.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.2.6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.2.7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.2.8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.2.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.2.10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.2.11 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.2.12 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.2.13 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.2.14 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.2.15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.2.16 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.2.17 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.2.18 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.2.19 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.2.20 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.2.21 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.2.22 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.2.23 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
|  | 528 11: SUB TOTAL; 528 12: #REF! | #REF!
#REF! | #REF!
6.3.1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.3.2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.3.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.3.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
6.3.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 8 | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
|  | 528 11: SUB TOTAL; 528 12: #REF! | #REF!
TOTAL AMOUNT IN FIGURES |  | 1 1: #REF!
TOTAL AMOUNT IN WORDS |  | 1 1: FIVE MILLION NINE HUNDRED NINETY-SEVEN THOUSAND ONE HUNDRED TWENTY-EIGHT AND 35/100 PESOS ONLY | #REF!
5997128.35
Prepared by:
ENGR. ALEXANDER JHON S. TABAQUERO |  | 1 1: AR. MARK ANTHONY L. PUNZALAN; 2400 6: ENGR. MARK JOMELLE O. NATIVIDAD
Civil Engineer, OFDM-MIU |  | 1 1: Architect, OFDM-PDU; 2400 6: Electrical Engineer, OFDM-PDU
Checked by:
ENGR. JOHN CHRISTIAN T. ILAGA
Head, OFDM-MIU
Certified by: |  | 1 1: Requesting Office:
AR. ARLEN M. GUIEB |  | 1 1: DR. JAYSON R. FELIX
Director, OFDM |  | 1 1: Head, CSU
Funds Available:
MR. JOHN ERWIN C. PANLILIO
Chief Finance Officer
Recommending Approval:
VP for Administration
Approved:
DR. ARNOLD E. VELASCO
President
Tarlac State University
Office of Facilities Development and Management
Planning and Monitoring Unit
Romulo Boulevard, San Vicnete, Tarlac City
Tel. No. (045) 606-8160
Project: Expansion of Guard House with CCTV Control Room
Location: San Isidro and Lucinda Extension Campus, Tarlac State University
Duration: 150 Calendar Days
APPROVED BUDGET FOR THE CONTRACT

## EQUIP'T RENTAL RATES (ACEL) (hidden)
EQUIPMENT RENTAL RATES
CITY/ MUNICIPALITY
PROVINCE
REGION
I.D. NO. | Description | Hourly Rate
a | Backhoe (0.80 cu.m.) | 2446 |  | 19568
b | Dump Truck (12 cu.yd.) | 1420 |  | 11360
c | Payloader (1.5 cu.m.) | 1733 |  | 13864
d | Bulldozer (155 Hp) | 4951 |  | 39608
e | Cargo truck (10T 270 Hp) | 1212 |  | 9696
f | Self Loading Truck and Accessories | 470 | * | 3760
g | Water Truck (16000 L) | 2450 |  | 19600
h | Plate Compactor (5hp) | 3938 |  | 31504
i | Concrete Vibrator | 21.39 |  | 171.12
j | Pumpcrete | 1583 |  | 12664
k | Bar Cutter | 87.8917 |  | 703.1333
l | Bar Bender | 140.625 |  | 1125
m | One - bagger Mixer | 172 |  | 1376
n | Welding Machine | 391 |  | 3128
o | Cutting Outfit | 45.45 | * | 363.6
p | Chainsaw | 19.6458 |  | 157.1667
q | Truck Mounted Crane (20 - 25mT) | 1631 |  | 13048
OTHERS